ANALYSIS OF FREE LONG-CHAIN BASES BY HPLC

# Reagents

Methanol and Chloroform (HPLC grade)

10µM eicosasphinganine (C20; d20:0): Prepared in ethanol, diluted from 5mM ethanolic stock. Store at –20°C and keep tightly capped.

0.1N NH4OH: Dilute 1.0 mL 14.8N NH4OH with 147 mL H2O.

O.4N KOH/methanol: FW 56.1, 2.24 g/100 mL methanol.

OPA reagent: 5 mg o-phthalaldehyde is weighed out in a large scintillation vial. After adding 100 µL ethanol and 5 µL -mercaptoethanol, the OPA is dissolved completely by mixing and sonication. Then add 9.9 mL 1% borate buffer (2 g boric acid/200 mL H2O, pH adjusted to 10.5 using concentrated KOH) and mix/sonicate. Store at 4°C in the dark (good for 4-5 days so include date on label).

# Procedure

- Harvest 50-200 mg plant tissue (2 corn shoots is sufficient), quickly slice into short (approx. 3 mm) segments using a clean razor blade, and immediately transfer tissue to a screw cap test tube (16 x 100 mm) containing 2.0 mL cold methanol and 1.0 mL chloroform. Alternatively, drop entire shoot into solvent and then macerate with a glass rod. After capping, vortex and/or sonicate briefly.

- Add 20 µL (equivalent to 200 pmoles) eicosasphinganine, cap and mix. Since this is the internal standard, take care to add accurately, and use a new tip for each addition to avoid contamination of the stock.

- Capped samples can sit overnight (or at least 2 hr.) to extract lipids from tissue. Samples may be sonicated and/or tissue pieces may be macerated with a glass rod to facilitate extraction.

- Using a pasteur pipet, transfer the solvent/extract to a new 16 x 100 mm tube, leaving tissue in original tube.

- To the extract add 1.0 mL chloroform and 1.6 mL 0.1N NH4OH, mixing after each addition. Centrifuge for 5-10 minutes in the table top centrifuge at a speed of 4 or 5 to separate phases.

- Transfer lower (chloroform) phase to a new 16 x 100 mm tube and to it add 1.8 mL methanolic KOH. Mix and let alkaline hydrolysis proceed for approximately 1 hr.

- Add 1.8 mL H2O, mix and centrifuge to separate phases. Transfer lower phase to an amber HPLC vial (adding a drop of ethanol if necessary).

- Evaporate to dryness under nitrogen, add 100 µL methanol and cap each vial. Hold for derivatization and HPLC analysis.

10.Prior to HPLC, derivatize by adding 50 µL OPA reagent, sonicate/mix briefly, and allow derivatization to proceed for 20-30 minutes. Then add 350 µL methanol, mix, and load vials into HPLC autosampler.

Conditions for analysis by HPLC: C18 reverse phase column with fluorescence detector; mobile phase consisting of 90% methanol/10% buffer (5mM potassium phosphate, pH 7.0) and flow rate of 1.5 mL/min.; injection volume of 20 µL; stop time of 30 min. Under these conditions, t18:0 elutes @ 7.5 min., d18:0 elutes @ 14 min. and d20:0 elutes @ 24 min.  If patterns are complex and greater resolution is needed, altering the mobile phase (from 90:10 to 87:13 or 85:15) will improve peak separation, but lengthen run time (must change stop time on controller!).