For the complete bibliography with references as well as an explanation of the classification scheme go to:

Demonstration Bibliography

The demonstration name listed in the bibliography is either the name listed on the reference or, if none is given, a simple descriptive name. In cases where there are several common names for a demonstration, the committee has chosen a preferred name.

The description is very brief. It is not intended to be a summary of the reference. One sentence is, in general, sufficient to describe the unique characteristics, if any, of an item. Each source has a unique numbering format. These unique formats are used identify references in the Bibliography.

The formats for the reference column and links to the sources are listed below:

| Reference | Source |
| --- | --- |
| M-1 | Sutton |
| Ma-1 | Freier & Anderson |
| M-1d | Hilton |
| 8-2.8 | Meiners |
| M-108 | Dick & Rae |
| 1A 12.01 | University of Minnesota Handbook |
| AJP 52(1),85 | American Journal of Physics |
| TPT 15(5),300 | The Physics Teacher |
| Disc 01-01 | The Video Encyclopedia of Physics Demonstrations |
| PIRA 200 | Physics Instructional Resource Association |
| PIRA 500 | PIRA 500 |
| PIRA 1000 | PIRA 1000 |

Each demonstration is listed in only one location, even if it is commonly used to illustrate several concepts.

5/16/2023

1

GEOMETRIC OPTICS	5

Speed of Light	5

Speed of Light	5

Straight Line Propagation	6

Shadows	6

Chalk Dust	7

Reflection from Flat Surfaces	8

Microwave Reflection	8

Diffuse and Specular Reflection	9

Ripple Tank Reflection	10

Corner Reflection	11

Angled Mirrors	12

Parallel Mirrors	13

Full View Mirror	14

Mirror Box	15

Reflection from Curved Surfaces	16

Blackboard Optics - Curved Mirrors	16

Parallel Lasers and Curved Mirrors	17

Lamp in the Socket	18

Optic Mirage	19

Projected Arrow with Mirror	20

Concave and Convex Mirrors	21

Refractive Index	22

Disappearing Beaker	22

Mirage with Laser	23

Refraction at Flat Surfaces	24

Blackboard Optics - Refraction	24

Refraction Tank	25

Big Plastic Refraction Tank	26

Ripple Tank Refraction	27

Seeing a Coin	28

Stick in Water	29

Total Internal Reflection	30

Blackboard Optics – Prism, Semicircle	30

Critical Angle in a Refraction Tank	31

Laser and Fiber Optics	32

Laser Waterfall	33

Thin Lenses	34

Blackboard Optics – Thin Lenses	34

Ripple Tank – Lens Model	35

Parallel Lasers and Lenses	36

Projected Arrow w/Lens	37

Schlieren Image of a candle	38

Thick Lenses	39

Improving an Image with a Stop	39

Chromatic and Spherical Aberration	40

CHOICE MATERIAL GLASS OXIDE	41

Fresnel Lens	42

Optical Instruments	43

Telescope Models	43

Camera Model	44

Lens Combinations	45

Invisibility	46

PHOTOMETRY	47

Luminosity	47

Inverse Square Model	47

Inverse Square Law with a Photometer	48

Blackbodies	49

Hole in a Box	49

Black Body Spectrum	50

DIFFRACTION	51

Diffraction Through One Slit	51

Single Slit and Laser	51

Two Finger Slit	52

Ripple Tank – Single Slit	53

Microwave Single Slit Diffraction	54

Diffraction Around Objects	55

Arago (Poisson) Spot	55

Diffraction around Objects	56

Babinet’s Principle	57

Pinhole Diffraction	58

Square and Rectangular Apertures	59

Zone Plate Lens	60

INTERFERENCE	61

Interference From Two Sources	61

Double Slits and Laser	61

Ripple Tank – Two Point	62

Microwave Double Slit	63

Fresnel Biprism	64

Gratings	65

Number of Slits	65

Fine Mesh and Laser	66

Optical Crystal Set	67

Thin Films	68

Newton's Rings	68

Soap Film Interference	69

Air Wedge	70

Step Gauge	71

Interferometers	72

Michelson Interferometer	72

Lloyd’s Mirror	73

Optical Resonator	74

COLOR	75

Synthesis and Analysis of Color	75

Color Box	75

Color Mixing	76

Recombining the Spectrum	77

Scattering	78

Sunset	78

POLARIZATION	79

Dichroic Polarization	79

Polaroids on the Overhead	79

Polaroid Box	80

Microwave Polarization	81

Polarization by Reflection	82

Brewster's Angle	82

Stack of Plates	83

Circular Polarization	84

Three Polaroids	84

Circular Polarizer,1/4 Wave Plate, Polaroid and Mirror	85

Karo Syrup	86

Faraday Rotation	87

Birefringence	88

Calcite and Polaroid on the OHP	88

Wavefront Model	89

Quarter Wave Plate	90

Butterfly	91

Polarization by Scattering	92

Sunset with Polarizers	92

THE EYE	93

The Eye	93

Eye Model	93

Eye Glasses	94

MODERN OPTICS	95

Holography	95

Holograms	95

Physical Optics	96

Abbe’s Theory of Imaging	96

| OPTICS | 6A01.10 | # GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Speed of Light |  |  |
| ### Speed of Light |  |  |
|  | A pulsed IR laser, a couple of photodiodes and a retro-reflector are used with a fast scope to measure the speed of light. The scope settings are stores in a file on the scope. An IR sensitive card can be used to show the beam. |  |

Location: Id2, Fb5

| OPTICS | 6A02.15 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Straight Line Propagation |  |  |
| ### Shadows |  |  |
|  | Use a point source to cast sharp shadows. |  |

Location: Id2

| OPTICS | 6A02.35 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Straight Line Propagation |  |  |
| ### Chalk Dust |  |  |
|  | Use chalk dust to make a laser beam visible. |  |

Location: Ja6

| OPTICS | 6A10.18 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Reflection from Flat Surfaces |  |  |
| ### Microwave Reflection |  |  |
|  | Reflect a microwave beam off of a metal plate into receiver. |  |

Location: Ia7

| OPTICS | 6A10.20 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Diffuse and Specular Reflection |  |  |
|  | Use the blackboard optics equipment to show specular reflection off of a mirror then replace the mirror with a sheet of paper. |  |

Location: Blackboard Optics Cart

| OPTICS | 6A10.25 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Ripple Tank Reflection |  |  |
|  | A barrier in a ripple tank reflects plain waves. This can also be done with a point source to illustrate image formation in a plain mirror. |  |

Location: Fb4

| OPTICS | 6A10.30 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Corner Reflection |  |  |
|  | Look at your image in a corner mirror. Also use the TV camera to look into a corner reflector. |  |

Location: Id3, Optics Table Cabinet

| OPTICS | 6A10.40 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Angled Mirrors |  |  |
|  | Two hinged mirrors show multiple images of an object placed between them. |  |

Location: Id4

| OPTICS | 6A10.45 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Parallel Mirrors |  |  |
|  | An infinite number of images are formed with a light bulb between parallel mirrors. |  |

Location: Id4

| OPTICS | 6A10.50 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Full View Mirror |  |  |
|  | A mirror is covered with paper so that a person can just see their entire height. |  |

Location: IdT

| OPTICS | 6A10.65 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Flat Surfaces |  |  |
| ### Mirror Box |  |  |
|  | “Pepper’s Ghost”, an old stage illusion. As the light on the subjects face is dimmed another light on a plastic skull brightens causing an apparent metamorphosis. |  |

Location: Ja1

| OPTICS | 6A20.10 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Reflection from Curved Surfaces |  |  |
| ### Blackboard Optics - Curved Mirrors |  |  |
|  | Shine parallel beams at convex and concave mirrors. Use the Blackboard optics for two dimensional representations. |  |

Location: Blackboard Optics Cart

| OPTICS | 6A20.15 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Curved Surfaces |  |  |
| ### Parallel Lasers and Curved Mirrors |  |  |
|  | Shine parallel beams at convex and concave mirrors. |  |

Location: Ja4, Blackboard Optics Cart

| OPTICS | 6A20.30 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Curved Surfaces |  |  |
| ### Lamp in the Socket |  |  |
|  | The image of a hidden light bulb is projected at the location of an empty socket. |  |

Location: IdT

| OPTICS | 6A20.35 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Curved Surfaces |  |  |
| ### Optic Mirage |  |  |
|  | Two concave mirrors face each other. Images of objects resting on the bottom mirror appear at the center hole of the top mirror. |  |

Location: Ja2

| OPTICS | 6A20.40 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Curved Surfaces |  |  |
| ### Projected Arrow with Mirror |  |  |
|  | A converging mirror is used to project the image of an illuminated arrow on a screen. Focal Length 0.75 m, diameter 0,203 m. |  |

Location: Ja2

| OPTICS | 6A20.45 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Reflection from Curved Surfaces |  |  |
| ### Concave and Convex Mirrors |  |  |
|  | Large convex and concave mirrors are shown. |  |

Location: Id5

| OPTICS | 6A40.30 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Refractive Index |  |  |
| ### Disappearing Beaker |  |  |
|  | Use Johnson's baby oil or Wesson oil to make a small beaker disappear when immersed. If the beaker has graduations or words they will appear to be floating in the liquid. |  |

Location: Ja3

| OPTICS | 6A40.47 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Refractive Index |  |  |
| ### Mirage with Laser |  |  |
|  | A laser beam almost grazing a hot plate will show a deflection when the plate is turned on. Level the laser and aim the beam so that it just goes over the hot plate and hits the scale at “0”, In the arrangement shown the laser spot on the scale moves up about 2 cm as the plate heats up. It takes a few minutes. |  |

Location: Ja6, Gb2

| OPTICS | 6A42.10 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Refraction at Flat Surfaces |  |  |
| ### Blackboard Optics - Refraction |  |  |
|  | The light source can be rotated through 270 degrees to show refraction and total internal reflection for both air/plastic and plastic/air interfaces. One can also use a rectangular prism (not shown but in the supplied BBO equipment) to show refraction and internal reflection. |  |

Location: Blackboard Optics Cart

| OPTICS | 6A42.20 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Refraction at Flat Surfaces |  |  |
| ### Refraction Tank |  |  |
|  | The light source can be rotated through 270 degrees to show refraction and total internal reflection for both air/plastic and plastic/air interfaces. Also can be done with an aquarium tank, water and a laser. |  |

Location: Ja3, Ja6

| OPTICS | 6A42.22 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Refraction at Flat Surfaces |  |  |
| ### Big Plastic Refraction Tank |  |  |
|  | The light source can be rotated through 270 degrees to show refraction and total internal reflection for both air/plastic and plastic/air interfaces. Be careful using the bright (20 mw) green laser. |  |

Location: PbT, Jd1

| OPTICS | 6A42.35 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Refraction at Flat Surfaces |  |  |
| ### Ripple Tank Refraction |  |  |
|  | The wave velocity over a shoal is smaller than that over deeper water and thus refraction of the ripples occurs over the plastic shoal. |  |

Location: Fb4

| OPTICS | 6A42.40 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Refraction at Flat Surfaces |  |  |
| ### Seeing a Coin |  |  |
|  | Pour water in a cup until a coin at the bottom (use double stick tape to hold it in place) previously hidden by the side is visible. |  |

Location: Ja3

| OPTICS | 6A42.45 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Refraction at Flat Surfaces |  |  |
| ### Stick in Water |  |  |
|  | A stick appears bent when inserted into water. |  |

Location: Ja4

| OPTICS | 6A44.10 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Total Internal Reflection |  |  |
| ### Blackboard Optics – Prism, Semicircle |  |  |
|  | Rotate the semicircular slab of Plexiglas with the light ray entering the exiting through the curved surface. Rotate the semicircular slab until the critical angle is reached and total internal reflection is obtained. |  |

Location: Blackboard Optics Cart

| OPTICS | 6A44.20 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Total Internal Reflection |  |  |
| ### Critical Angle in a Refraction Tank |  |  |
|  | A beam in a tank of water is rotated until there is total internal reflection at the surface. |  |

Location: Ja3, Ja6

| OPTICS | 6A44.40 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Total Internal Reflection |  |  |
| ### Laser and Fiber Optics |  |  |
|  | You are provided with a Plexiglas rod, Plexiglas curly Q and a section of fiber optic cable. Hold their ends in the beam near the laser. Vary the number of reflections in the rod by changing the angle. |  |

Location: Blackboard Optics Cart, Ja4, Ja6

| OPTICS | 6A44.45 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Total Internal Reflection |  |  |
| ### Laser Waterfall |  |  |
|  | Shine a laser down the center of a nozzle and it follows the water stream. |  |

Location: Dd6, Ja6

| OPTICS | 6A60.10 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Thin Lenses |  |  |
| ### Blackboard Optics – Thin Lenses |  |  |
|  | Blackboard optics are used with convex and concave thin lens elements |  |

Location: Blackboard Optics Cart

| OPTICS | 6A60.15 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thin Lenses |  |  |
| ### Ripple Tank – Lens Model |  |  |
|  | Refraction due to depth differences over a lens shaped area in the ripple tank. |  |

Location: Fb4

| OPTICS | 6A60.20 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thin Lenses |  |  |
| ### Parallel Lasers and Lenses |  |  |
|  | Parallel lasers are passed through converging and diverging lenses. Chalk dust illuminates the beams. |  |

Location: Id1, Blackboard Optics Cart

| OPTICS | 6A60.31 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thin Lenses |  |  |
| ### Projected Arrow w/Lens |  |  |
|  | Turn on the light bulb. Move the light bulb to focus the image on the side wall. The focal lengths are marked on the lenses. Show the effect of aperture size on the sharpness on the focus by placing different sized stops in front of the lens. |  |

Location: Id1, Jd3

| OPTICS | 6A60.41 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thin Lenses |  |  |
| ### Schlieren Image of a candle |  |  |
|  | A point source, a mirror and a candle. |  |

Location: Id1, Jd3

| OPTICS | 6A65.10 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Thick Lenses |  |  |
| ### Improving an Image with a Stop |  |  |
|  | Turn on the light bulb. Move the light bulb to focus the image on the side wall. The focal lengths are marked on the lenses. Show the effect of aperture size on the sharpness on the focus by placing different sized stops in front of the lens. Use the thick, short focal length lens. |  |

Location: Ja5, Jd3

| OPTICS | 6A65.24 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thick Lenses |  |  |
| ### Chromatic and Spherical Aberration |  |  |
|  | Use diaphragms with central, annular, and other openings to show spherical and chromatic aberration. |  |

Location: Ja6, Jd3

| OPTICS | 6A65.56 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thick Lenses |  |  |
| ### CHOICE MATERIAL GLASS OXIDE |  |  |
|  | CHOICE MATERIAL GLASS OXIDE is viewed through an acrylic rod or a plastic tube filled with water. |  |

Location: Ja3

| OPTICS | 6A65.70 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Thick Lenses |  |  |
| ### Fresnel Lens |  |  |
|  | Show some Fresnel Lenses and a model of them. |  |

Location: Ja5, Jd3

| OPTICS | 6A70.20 | GEOMETRIC OPTICS |
| --- | --- | --- |
| ## Optical Instruments |  |  |
| ### Telescope Models |  |  |
|  | Blackboard optics illustrations of a Keplerian telescope and a Gallilean telescope. |  |

Location: Blackboard Optics Cart

| OPTICS | 6A70.30 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Optical Instruments |  |  |
| ### Camera Model |  |  |
|  | Blackboard optics illustration of a camera. |  |

Location: Blackboard Optics Cart

| OPTICS | 6A70.45 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Optical Instruments |  |  |
| ### Lens Combinations |  |  |
|  | Set up some optical systems with more than one lens. Use the TV camera and screen to show intermediate images. It is helpful to use a dimmer on the source object box to keep the TV image from being washed out. |  |

Location: Id4, Jd3

| OPTICS | 6A70.46 | GEOMETRIC OPTICS |
| --- | --- | --- |
| Optical Instruments |  |  |
| ### Invisibility |  |  |
|  | Four lenses (two 15 cm focal length and two 5 cm focal length) are arranged so that an aluminum rod seems “cloaked” when passed through certain regions. |  |

Location: Ja3, Jd2, Lb5, Bd1

| OPTICS | 6B10.15 | # PHOTOMETRY |
| --- | --- | --- |
| ## Luminosity |  |  |
| ### Inverse Square Model |  |  |
|  | A point source casts a shadow from a square frame. A screen four times the area is placed twice as far from the source as the frame. The light going through the frame just fills the screen. |  |

Location: JaT, Ja6, Jd3

| OPTICS | 6B10.20 | PHOTOMETRY |
| --- | --- | --- |
| Luminosity |  |  |
| ### Inverse Square Law with a Photometer |  |  |
|  | A photometer is used with a smart cart, a computer, and the Capstone software to plot intensity of light vs distance. The Capstone file is Inverse Square Law for Light. |  |

Location: Jb1, Bb2, Cc1

| OPTICS | 6B40.20 | PHOTOMETRY |
| --- | --- | --- |
| ## Blackbodies |  |  |
| ### Hole in a Box |  |  |
|  | A box that is painted black has a hole in a hinged door. The hole appears blacker than the box, When the door is opened, you see the box is actually painted white on its inside surfaces. Use an infrared camera to look at a hole in a heated aluminum block (100 C). |  |

Location: Jb2, Fc5, FLIR Cabinet

| OPTICS | 6B40.40 | PHOTOMETRY |
| --- | --- | --- |
| Blackbodies |  |  |
| ### Black Body Spectrum |  |  |
|  | A spectrometer and bolometer connected to Science Workshop is used to record the spectrum from an incandescent bulb at various temperatures. For the TV camera version, use fixed focus and exposure. Change the variac setting to show the spectrum shift. |  |

Location: Science Workshop Cabinet, Optics Table Cabinet, Kb2, Ib2

| OPTICS | 6C10.10, 6C10.15 | # DIFFRACTION |
| --- | --- | --- |
| ## Diffraction Through One Slit |  |  |
| ### Single Slit and Laser |  |  |
|  | Turn on the laser. The pattern appears on the wall. The slit widths are printed on the wheel. To select a different slit, turn the wheel. We also have the Cornell slitfilm card, which includes a slit of gradually increasing width. There is also a variable slit one can also use to “choke” the laser beam. Also shown is the computerized version (Diffraction.cap, uses the Capstone software). Use the 40 mW green diode laser, shimmed to the proper beam height. CAUTION: the undiffracted beam is bright enough to be harmful. |  |

Location: Ja6, Jb3

| OPTICS | 6C10.20 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Through One Slit |  |  |
| ### Two Finger Slit |  |  |
|  | Have each student look at a vertical filament lamp through the slit formed by holding two fingers closely together. |  |

Location: Jd3

| OSCILLATIONS AND WAVES | 3B50.10 | WAVE MOTION |
| --- | --- | --- |
| Interference and Diffraction |  |  |
| ### Ripple Tank – Single Slit |  |  |
|  | Set up the ripple tank with a plane wave source and a single slit. |  |

Location: Fb4

| OPTICS | 6C10.50 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Through One Slit |  |  |
| ### Microwave Single Slit Diffraction |  |  |
|  | 3 cm microwave and a single slit. |  |

Location: Ia7

| OPTICS | 6C20.10 | DIFFRACTION |
| --- | --- | --- |
| ## Diffraction Around Objects |  |  |
| ### Arago (Poisson) Spot |  |  |
|  | Shine an expanded laser beam at a ball bearing and look at the diffraction pattern. |  |

Location: Jb3, Ja6

| OPTICS | 6C20.15 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Around Objects |  |  |
| ### Diffraction around Objects |  |  |
|  | Diffraction of a divergent laser beam around a razor blade or needle. |  |

Location: Jb3, Ja6

| OPTICS | 6C20.20 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Around Objects |  |  |
| ### Babinet’s Principle |  |  |
|  | Diffraction of a divergent laser beam around a thin line (0.08 mm) is compared to diffraction by a slit of the same size. Use the brighter laser on the slit. The wheel has both the individual line and slit that you can use by turning the wheel. Alternatively, there is a slide on the wheel that has the slit and line side by side (move the whole wheel holder from side to side to go from one to the other). Use the 40 mW green diode laser, shimmed to the proper beam height. CAUTION: the undiffracted beam is bright enough to be harmful. |  |

Location: Jb3, Ja6

| OPTICS | 6C20.30 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Around Objects |  |  |
| ### Pinhole Diffraction |  |  |
|  | Shine a laser beam through pinholes of various sizes. Use the 40 mW green diode laser, shimmed to the proper beam height. CAUTION: the undiffracted beam is bright enough to be harmful. |  |

Location: Jb3, Ja6

| OPTICS | 6C20.35 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Around Objects |  |  |
| ### Square and Rectangular Apertures |  |  |
|  | Shine a laser beam through a square (0.16 mm x 0.16 mm) or rectangular aperture (0.16 mm x 0.08 mm) aperture. The Mounting hardware (mirror mounts) for the apertures is in the Newport Holography kit. Remove Newport mirror mount, MM2-1A, from riser (RB-MM2-2), and mount aperture slide in it. The lens (18 mm) is from the Pasco Advanced optics kit. Use steel nuts as spacers on the mounting slide so it can be moved close enough to the aperture. |  |

Location: Jb3, Ja6

| OPTICS | 6C20.40 | DIFFRACTION |
| --- | --- | --- |
| Diffraction Around Objects |  |  |
| ### Zone Plate Lens |  |  |
|  | Use a zone plate. The source is a spatially filtered diverging beam. Also place a zone plate on the overhead projector to show the center is an opaque spot (note we also have one that is not opaque in the center). |  |

Location: Jb3, Ja6

| OPTICS | 6D10.10 | # INTERFERENCE |
| --- | --- | --- |
| ## Interference From Two Sources |  |  |
| ### Double Slits and Laser |  |  |
|  | Turn on the laser. The pattern appears on the wall. The slit widths and spacings are printed on the wheel. To select different slits, turn the wheel. There is a continuously variable double slit that varies the slit spacing on the wheel. We also have the Cornell slitfilm card, which includes double slits of increasing width and spacing. Use the 40 mW green diode laser, shimmed to the proper beam height. CAUTION: the undiffracted beam is bright enough to be harmful. |  |

Location: Jb4, Ja6

| OSCILLATIONS AND WAVES | 3B50.20 | WAVE MOTION |
| --- | --- | --- |
| Interference and Diffraction |  |  |
| ### Ripple Tank – Two Point |  |  |
|  | Set up the ripple tank with a double point source. |  |

Location: Fb4

| OPTICS | 6D10.20 | DIFFRACTION |
| --- | --- | --- |
| Interference From Two Sources |  |  |
| ### Microwave Double Slit |  |  |
|  | 3 cm microwave and a double slit. |  |

Location: Ia7

| OPTICS | 6D10.41 | DIFFRACTION |
| --- | --- | --- |
| Interference From Two Sources |  |  |
| ### Fresnel Biprism |  |  |
|  | A spatially filtered diverging beam illuminates a Fresnel biprism. A pattern similar to a double slit is produced. |  |

Location: Jb4, Ja6, Optics Table Cart

| OPTICS | 6D20.10 | INTERFERENCE |
| --- | --- | --- |
| ## Gratings |  |  |
| ### Number of Slits |  |  |
|  | Turn on the laser. The pattern appears on the wall. The slit widths, numbers and spacings are printed on the wheel. To select different slits, turn the wheel. View the results of the interference pattern on the wall. The lights in the room may need to be darkened. Use the 40 mW green diode laser, shimmed to the proper beam height. CAUTION: the undiffracted beam is bright enough to be harmful. |  |

Location: Jb4, Ja6

| OPTICS | 6D20.55 | INTERFERENCE |
| --- | --- | --- |
| Gratings |  |  |
| ### Fine Mesh and Laser |  |  |
|  | Shine a laser through a fine mesh and observe the patterns. |  |

Location: Jb4, Ja6

| OPTICS | 6D20.57 | INTERFERENCE |
| --- | --- | --- |
| Gratings |  |  |
| ### Optical Crystal Set |  |  |
|  | Seven sequences of 2x2 slides used in the simple Laue approach to diffraction by crystals. |  |

Location: Jb4, Jd2

| OPTICS | 6D30.10 | INTERFERENCE |
| --- | --- | --- |
| ## Thin Films |  |  |
| ### Newton's Rings |  |  |
|  | Turn on the light. The interference pattern is projected onto the side wall. Change the pattern by tightening a screw on the edge of the glass disk. |  |

Location: Id1, Jb4, Jd3

| OPTICS | 6D30.20 | INTERFERENCE |
| --- | --- | --- |
| Thin Films |  |  |
| ### Soap Film Interference |  |  |
|  | Turn on the light. Dip the wire frame into the soap solution and secure with the clip. Adjust the angle until the pattern appears on the side wall. |  |

Location: Id1, Jb4, Jd3

| OPTICS | 6D30.30 | INTERFERENCE |
| --- | --- | --- |
| Thin Films |  |  |
| ### Air Wedge |  |  |
|  | A sodium lamp illuminates two plates of glass (in the picture two quartz surface plates are shown). Compare with a piece of glass that is not an optical flat. |  |

Location: Jb3, Ka2

| OPTICS | 6D30.55 | INTERFERENCE |
| --- | --- | --- |
| Thin Films |  |  |
| ### Step Gauge |  |  |
|  | Thin films of barium stearate, from 2 x10-6 to 16 x10-6 inches in microinch increments are deposited on a glass plate. The steps reflect a vivid series of interference colors when illuminated by white light. |  |

Location: Jb4

| OPTICS | 6D40.10 | INTERFERENCE |
| --- | --- | --- |
| ## Interferometers |  |  |
| ### Michelson Interferometer |  |  |
|  | Turn on the laser. Read the initial position of the micrometer. Count the number of fringes while turning the micrometer slowly in one direction only. Read the final position. This can also be done with white light. A spatial filter is used to create a clean, diverging beam. |  |

Location: Optics Table Cabinet, Jb5, Ja6

| OPTICS | 6D40.27 | INTERFERENCE |
| --- | --- | --- |
| Interferometers |  |  |
| ### Lloyd’s Mirror |  |  |
|  | The laser is aligned so that the beam grazes the surface of the glass plate. Two spots are seen on a distant screen, one from the light passing directly over the plate and the other from the light reflected from the plate. As the plate is raised into the beam, the spot of light from the reflection will lower and merge with the spot that passes directly over the plate. As it does, an interference pattern will appear. |  |

Location: Id3, Jb3,

| Modern Physics | 7G20.20 | Lasers |
| --- | --- | --- |
| Laser Polarization and Intensity Fluctuation - Modes |  |  |
| ### Optical Resonator |  |  |
|  | Light from a laser is directed down the optical cavity of an old laser tube. The cavity acts as an optical resonator and as the exciting laser warms up, its frequency slews through a spectrum of frequencies. As the frequencies match resonate frequencies in the old tube (it can be thought of as a Fabry Perot interferometer), light is transmitted through it and shows up as a spot on a screen placed down beam from the exit side. Various modes can be observed as the exciting lasers frequency changes. |  |

Location: Ia1, Ja6

| OPTICS | 6F10.10 | # COLOR |
| --- | --- | --- |
| ## Synthesis and Analysis of Color |  |  |
| ### Color Box |  |  |
|  | Three spot lights with color filters are used to project colored spots on a screen. The spots overlap to show color mixing. Colorful shadows can be cast as well. |  |

Location: Jb6

| OPTICS | 6F10.14 | COLOR |
| --- | --- | --- |
| Synthesis and Analysis of Color |  |  |
| ### Color Mixing |  |  |
|  | Use an old LCD projector to split a white beam of light into RGB and then recombine it. |  |

Location: Jb6

| OPTICS | 6F10.30 | COLOR |
| --- | --- | --- |
| Synthesis and Analysis of Color |  |  |
| ### Recombining the Spectrum |  |  |
|  | Recombine the spectrum after passing through a prism to get white light or remove a color to get the complement. |  |

Location: Ib1, Jb3, Jc1

| OPTICS | 6F40.10 | COLOR |
| --- | --- | --- |
| ## Scattering |  |  |
| ### Sunset |  |  |
|  | A beam of light shines through a circular slide on the overhead projector and then through one liter of water and onto the side wall. Add a few drops of Pinesol (cedarwood oil in alcohol or Lysol) to the water and stir with the stick. The "sun" will begin to turn yellow. To increase the scattering to an orange sun, add more Pinesol. It takes about 15 minutes to fully achieve the effect. Use the Polaroid film to show the scattered blue light is polarized (it becomes less so as you get double scattering). |  |

Location: Jc2

| OPTICS | 6H10.10 | # POLARIZATION |
| --- | --- | --- |
| ## Dichroic Polarization |  |  |
| ### Polaroids on the Overhead |  |  |
|  | You get two sheets of Polaroid and a pair of Polaroid sunglasses. Rotate one on the Polaroids or the sunglasses. |  |

Location: Jc3, Ja5

| OPTICS | 6H10.12 | POLARIZATION |
| --- | --- | --- |
| Dichroic Polarization |  |  |
| ### Polaroid Box |  |  |
|  | An arrangement of cross polarizers makes it appear that there is a solid barrier inside a box. |  |

Jc3

| OPTICS | 6H10.20 | POLARIZATION |
| --- | --- | --- |
| Dichroic Polarization |  |  |
| ### Microwave Polarization |  |  |
|  | Hold a grid of parallel wires in a microwave beam and rotate the grid. |  |

Location: Ia7

| OPTICS | 6H20.10 | POLARIZATION |
| --- | --- | --- |
| ## Polarization by Reflection |  |  |
| ### Brewster's Angle |  |  |
|  | Light is reflected from a sheet of black glass onto the wall. Rotate a sheet of Polaroid in the path of the reflected light. We set the light at Brewster's Angle. Vary the incident angle by rotating the light. |  |

Location: Jc3, Jd3

| OPTICS | 6H20.40 | POLARIZATION |
| --- | --- | --- |
| Polarization by Reflection |  |  |
| ### Stack of Plates |  |  |
|  | A stack of glass plates at 57 degrees will transmit and reflect light that is cross polarized. In this apparatus, the black mirror serves as an analyzer for the transmitted beam and when the ray reflected off of it is in the same direction as the rays reflected off of the stack of plates, the intensity is low because the plane of polarization of the transmitted ray is normal to a line in the plane of the black glass; however, if you rotate the black mirror 90 degrees so the reflected beam is normal to the direction of the rays reflected off of the stack, then the plane of polarization of the transmitted ray is in the plane of the black glass and the ray is more intense. Use the green, unpolarized laser as the light source. |  |

Location: Ja6, Jc3

| OPTICS | 6H30.10 | POLARIZATION |
| --- | --- | --- |
| ## Circular Polarization |  |  |
| ### Three Polaroids |  |  |
|  | Three sheets of Polaroid are provided with an overhead projector. Also shown in the photograph is a circular polarizer. The second picture shows a version that does not use the overhead projector |  |

Location: Jc2, Jc3

| OPTICS | 6H30.20 | POLARIZATION |
| --- | --- | --- |
| Circular Polarization |  |  |
| ### Circular Polarizer,1/4 Wave Plate, Polaroid and Mirror |  |  |
|  | Look through a circular polarizer at your image in a mirror with the ¼ wave plate side toward the mirror. Now flip the circular polarizer so that the ¼ wave plate is on the side opposite the mirror. Also try a retroreflector and various orientations with a linear polarizer. |  |

Location: Id5, Jc3

| OPTICS | 6H30.40 | POLARIZATION |
| --- | --- | --- |
| Circular Polarization |  |  |
| ### Karo Syrup |  |  |
|  | Place the Karo syrup between two circular polarizers. Place the light source behind the rear polarizer and turn the lamp on. Rotate the front polarizer and watch the syrup change colors. Use a point source with a diffuser. Show with a polarization axis finder (disk) is for fun. |  |

Location: Jc2, Jc4

| OPTICS | 6H30.80 | POLARIZATION |
| --- | --- | --- |
| Circular Polarization |  |  |
| ### Faraday Rotation |  |  |
|  | A TGG (Terbium Gallium Garnet) glass sample is placed in a polarimeter and illuminated with one of 3 lasers (405 nm, 532 nm and 605 nm). The polarimeter is adjusted for minimum throughput. A magnetic field is applied (0.13 T) and the Faraday rotation is observed by finding the new minimum. |  |

Jc2

| OPTICS | 6H35.15 | POLARIZATION |
| --- | --- | --- |
| ## Birefringence |  |  |
| ### Calcite and Polaroid on the OHP |  |  |
|  | A calcite rhomb is placed on an overhead projector with a slide underneath. The double image can then be seen and manipulated with a polarizer. |  |

Location: Jc4

| OPTICS | 6H35.24 | POLARIZATION |
| --- | --- | --- |
| Birefringence |  |  |
| ### Wavefront Model |  |  |
|  | Cast plaster model shows spherical and elliptical wavefronts in crystals. |  |

Location: Jc3

| OPTICS | 6H35.40 | POLARIZATION |
| --- | --- | --- |
| Birefringence |  |  |
| ### Quarter Wave Plate |  |  |
|  | Show two plates with attached polarizers and the Magic glass trick wherein light appears to go through one way but not the reverse path (it’s a trick). One can also do this with one plate/polarizer by looking through it at a mirror and then flipping 180 degrees about a horizontal axis and looking again. |  |

Location: Jc3

| OPTICS | 6H35.53 | POLARIZATION |
| --- | --- | --- |
| Birefringence |  |  |
| ### Butterfly |  |  |
|  | Mica, cellophane, butterfly slide, etc. are placed between crossed polarizers. |  |

Location: Jc3

| OPTICS | 6H50.10 | POLARIZATION |
| --- | --- | --- |
| ## Polarization by Scattering |  |  |
| ### Sunset with Polarizers |  |  |
|  | Use a sheet of Polaroid to check the polarization of scattering from a beam of light passing through a tank with scattering particles. |  |

Location: Jc2

| OPTICS | 6J10.10 | # THE EYE |
| --- | --- | --- |
| ## The Eye |  |  |
| ### Eye Model |  |  |
|  | The standard take-apart eye model. A Blackboard optics two dimensional version is also shown in the photograph. |  |

Location: Blackboard Optics Cart, Jc5

| OPTICS | 6J1055 | THE EYE |
| --- | --- | --- |
| The Eye |  |  |
| ### Eye Glasses |  |  |
|  | An antique optometrist’s refracting kit can be used to show how to correct vision problems. . |  |

Location: Jc5

| OPTICS | 6Q10.10 | # MODERN OPTICS |
| --- | --- | --- |
| ## Holography |  |  |
| ### Holograms |  |  |
|  | Use a laser with a spatial filter to illuminate the hologram. |  |

Location: Ja6, Jc6, Optics Table Cart

| OPTICS | 6Q20.10 | MODERN OPTICS |
| --- | --- | --- |
| ## Physical Optics |  |  |
| ### Abbe’s Theory of Imaging |  |  |
|  | A laser beam illuminates an “Optical Crystal” (a geometric array of small characters). You see the diffraction pattern consisting of the body factor convolved with the form factor. Insert a lens and you see its Fourier transform, the real image of the Optical Crystal |  |

Location: Jb4, Jd2