Sphingolipid extraction protocol for analysis by LCMS

Reference: Markham and Jaworski (2007) Rapid Commun. Mass Spectrom 21:1304-1314.

1. Harvest plant material (about ½ of a 50 ml Falcon tube of fresh leaves gives about 30 mg of freeze-dried tissue).

2. Freeze-dry over night.

3. Weigh 30 mg of freeze-dried tissue and place in glass homogenizer.  Can store remaining tissue in -80 freezer.

4.  Add 3 ml extraction solvent (isopropanol/heptane/ water 55:20:25) and 10 ul internal standards mix (contains 200 nmol GM1 (ovine), 100 nmol C12-GlcCer, 10 nmol C12-Cer, 10 nmol C17:0 LCB, and 10 nmol C17:0 sphingosine LCB-P).  Homogenize tissue and transfer everything (including the tissue gunk) to a screw cap 8ml glass tube.  Rinse the homogenizer with 2 ml extraction solvent and add to the rest of the extract.

5.  Incubate at 60 C for 15 minutes.  Spin at 500 g for 10 minutes.  Transfer the supernatant to a second tube.  Extract the pellet once more with 3 ml of extraction solvent (heat at 60 C for 15 minutes, spin and transfer supernatant to the second tube to pool with the first supernatant.

6. Dry down supernatants in hood, make sure heating block is set at 60 C, use lab air instead of nitrogen.

7. When completely dried (may be stored in -20 at this point).

8. The dried, crude extract is then deesterified with 2 ml of 33% methylamine in ethanol/water (7:3 v/v). incubating at 50 C for one hour.

9. Dry the sample under nitrogen and dissolve with heating and gentle sonication in 1 mL of THF/methanol/water (3:2:5 v/v/v) containing 0.1% formic acid.  Store at -20C.

Prior to transferring to autosampler vial,especially if taking samples from the freezer, heat at 42 C to redissolve lipids, then spin at 500g for 10 min to remove insoluble material.